In the Matter of the Application of UW for a MIMP (Hearing Examiner No. CF-314346)

SDCI’s Proposed Findings and Conclusions

Contents

I.	Findings	3

A.	Background	3

B.	Existing Conditions	3

C.	Procedural Background	4

1.	Environmental review	4

2.	Public comment	5

D.	Proposed Campus Master Plan	5

1.	Potential new development	5

2.	Potential new and enhanced open spaces	6

3.	Proposed MIO Height District changes	6

4.	Transportation	7

5.	Street vacations and skybridges	7

6.	Other elements of the Plan	7

E.	CUCAC and SDCI’s Recommendations and the University’s Responses	7

F.	Examiner’s Public Hearing	8

G.	SDCI-University Agreement on Typographical Corrections and Most Outstanding Recommendations	8

II.	Conclusions	8

A.	Introduction	8

B.	Resolution of Disputed Conditions	9

1.	The Master Plan may modify only development standards of the underlying zoning, not all development regulations (primarily Cond. 35; also Conds. 29, 30, 34, and 39)	9

2.	Plan amendment process (Conds. 17 and 18)	11

3.	Affordable housing (Conds. 1 and 2)	11

4.	Transportation mitigation (Conds. 51 – 53 and 55)	12

5.	Public realm allowance (Cond. 12)	14

C.	The Plan, as Conditioned, is Consistent with the Agreement, Comprehensive Plan, SEPA, and Shoreline Public Access Plan Provisions.	15

D.	The Proposed Amendments to the MIO Height Designations are Consistent with Applicable Criteria.	15

E.	Summary of Recommendations	16

III.	Hearing Examiner’s Recommended Conditions	16

# Findings

## Background

The proposal is for a new Campus Master Plan (CMP or Plan) for the University of Washington’s Seattle campus. The campus is currently subject to a CMP adopted by the City Council in 2002 by Ordinance 121041. Ex. A-23. The current plan remains in effect until the three million gross square feet approved under its provision are constructed or a new Master Plan is adopted by the Board of Regents. Id. at 1.

## Existing Conditions

The campus boundaries are generally the Lake Washington Ship Canal, Portage Bay, and Union Bay on the south; Union Place NE on the east; NE 45th Street on the north; 15th Avenue NE on the northwest; and NE 41st Street and the University Bridge on the southwest. The University owns approximately 634 acres within the campus boundary. Approximately 60 acres are public and private property, including City street right of-way and land owned by Jensen Motorboat Company, the Church of Jesus Christ of Latter-Day Saints, and the College Inn. Approximately 75 acres in the eastern portion of the campus consist of submerged land and unstable peat islands.

Campus land uses are organized in a traditional pattern for a large and complex university. Academic, administrative, and student support activities are generally clustered in an elongated core on the Central Campus, which extends into the eastern portions of the west campus. Instruction and research facilities are largely located to the north and south of this core, with liberal arts and social sciences predominating on the north, and physical and life sciences and engineering predominating on the south.  Health Sciences, Oceanography, and Fisheries are located separately in the south campus, with extensions into west campus.

Physical plant support activities are generally located in peripheral campus areas, although a few activities occupy central locations.  Except for parking garages and scattered small parking lots, parking is also located peripherally.  Parking is a major land use in both the South and East campus sectors.  Student housing is concentrated primarily in two sectors: the West Campus and the northeast portion of the Central Campus.

In July 2017, the Washington Supreme Court rejected the University’s request for a declaration that the City’s Landmarks Preservation Ordinance (LPO) could not apply to the University’s Seattle campus. University of Washington v. City of Seattle, 188 Wn.2d 823, 399 P.3d 519 (2017). Among other things, the University argued that it was not subject to RCW 36.70A.103, a provision of the Growth Management Act (GMA) mandating: “State agencies shall comply with the local comprehensive plans and development regulations and amendments thereto adopted pursuant to” the GMA. In rejecting that claim, the Court concluded: “UW is a state agency in accordance with the plain and ordinary meaning of that term, which is clearly appropriate given the statutory context of RCW 36.70A.103. Therefore, UW must comply with local development regulations adopted pursuant to the GMA.” Id. 188 Wn.2d at 839. The Court noted that one limitation on that mandate is that no local development regulation may be used to preclude the siting of an essential public facility, including state education facilities. Id. at 837-38 (citing RCW 36.70A.200(5)).

Unlike other major institutions in Seattle, the University is subject to a Code provision authorizing a City-University agreement to govern certain aspects of the University’s relationship with the City, and permitting the agreement or a campus master plan to modify the development standards of the underlying zoning:

For the University of Washington, notwithstanding subsection A of this section above, the 1998 agreement between The City of Seattle and the University of Washington, or its successor, shall govern relations between the City and the University of Washington, the master plan process (formulation, approval and amendment), uses on campus, uses outside the campus boundaries, off-campus land acquisition and leasing, membership responsibilities of CUCAC, transportation policies, coordinated traffic planning for special events, permit acquisition and conditioning, relationship of current and future master plans to the agreement, zoning and environmental review authority, resolution of disputes, and amendment or termination of the agreement itself. Within the Major Institution Overlay (MIO) Boundaries for the University of Washington development standards of the underlying zoning may be modified by an adopted master plan, or by an amendment or replacement of the 1998 agreement between the City of Seattle and University of Washington.

SMC 23.69.006.B (emphasis added).

The current City-University Agreement is the version last amended by Ord. 121688 in 2004, and executed by the parties in 2005. Ex. A-5.

## Procedural Background

### Environmental review

The University is the SEPA lead agency for the proposal. The University published a Final Environmental Impact Statement (FEIS) on July 3, 2017, which consists of two volumes with appendices, and a Transportation Discipline Report with appendices. These five volumes are collectively marked Ex. A-19.

### Public comment

The University issued a Draft CMP on October 5, 2016 and provided in-person and on-line public comment opportunities between October 12 – November 12, 2016.

The University also issued a Draft Environmental Impact Statement (DEIS) on October 5, 2016.  The public comment period ran from October 5, 2016 through November 21, 2016.  The University held a public hearing on the DEIS on October 26, 2016.

The City-University Citizen Advisory Committee (CUCAC) held numerous meetings, open to the public, to discuss the draft and final Master Plans.

The Seattle Department of Construction and Inspections (SDCI) public comment period started December 5, 2016.

## Proposed Campus Master Plan

### Potential new development

Within the Master Plan, the University campus has been divided into four sectors: Central Campus, West Campus, South Campus, and East Campus. The plan identifies 86 potential development sites throughout the campus to accommodate future growth of 6 million net new gross square feet.  Each potential development site is defined in terms of maximum height and total maximum gross square feet. Not all sites will be developed. Specific sites will be determined by the University over the term of the Plan through the University’s annual capital planning and budgeting process.

|  | POTENTIAL NET NEW DEVELOPMENT (GROSS SQ. FT.) | NET NEW MAXIMUM DEVELOPMENT (GROSS SQ. FT.) | MAXIMUM DEVELOPMENT LIMIT (%) |
| --- | --- | --- | --- |
| CENTRAL | 1,631,941 | 900,000 | 15% |
| WEST | 3,762,199 | 3,000,000 | 50% |
| SOUTH | 2,208,735 | 1,350,000 | 23% |
| EAST | 4,293,885 | 750,000 | 12% |

Central Campus – The Master Plan proposes 900,000 gross square feet of net new maximum development in Central Campus, approximately 15 percent of the total 6 million gross square feet.  There are 18 identified potential development sites with a development capacity of 1,631,941 net new gross square feet.  These sites would be developed with academic, mixed-use (residential and nonresidential), and transportation uses consistent with the current uses in the central campus.

West Campus:  The Master Plan proposes 3,000,000 gross square feet of net new maximum development in West Campus, approximately 50 percent of the total development capacity. There are 19 identified potential development sites with a development capacity of 3,762,199 net new gross square feet.  Potential uses could include academic, mixed-use, transportation, and industry partnership/manufacturing uses.

South Campus:  The Master Plan proposes 1,350,000 gross square feet of net new maximum development in South Campus, approximately 23 percent of the total development capacity. There are 20 identified potential development sites with a development capacity of 2,208,735 gross square feet. Potential uses could include academic, mixed-use, and transportation uses.

East Campus:  The Master Plan proposes 750,000 gross square feet of net new maximum development in East Campus, approximately 12 percent of the total development capacity. There are 29 identified potential development sites with a development capacity of 4,293,885 gross square feet.

### Potential new and enhanced open spaces

The Master Plan proposes new and enhanced open spaces for West, South, and East campus areas, including a continuous waterfront trail.

West Campus:  an approximately four-acre park called the “West Campus Green” and the West Campus section of the waterfront trail is proposed to be constructed when 3 million gross square feet of net new development is completed in the West Campus sector.

South Campus: a four-acre area called the “South Campus Green” and “Upper South Campus Green” is proposed. Construction of the “South Campus Green” and the South Campus section of the waterfront trail are proposed to be constructed concurrent with the adjacent development sites.

East Campus: a section of the waterfront trail is proposed to be constructed upon completion of 750,000 net new gross square feet of development in this sector.

### Proposed MIO Height District changes

As depicted on page 122 of the Master Plan, the University is requesting height increases to the Major Institution Overlay (MIO) Height District in the West, South, and East Campus sectors. The Central Campus sector height will be maintained at the current height designation.

West Campus: The current mapped height limits of 37 – 105 feet would change to 37 – 240 feet.

South Campus: The current mapped height limits of 37 – 240 feet would be maintained but with more areas of 240-foot height.

East Campus: The current mapped height limits of 37 – 160 feet would be maintained, with the mapped height at the E1 parking lot increased from 37 to a range of 65 – 160 feet.

The proposals for the increased height limits include self-imposed conditions for reduced maximum building heights for specified development sites.  All sites within the shoreline district would be limited to 30 feet, consistent with the Seattle Shoreline Master Program.

### Transportation

The Plan proposes to modify the University’s Transportation Management Plan (TMP) to provide: additional opportunities for alternative modes of travel to and from the University; pedestrian, bicycle, and vehicular circulation changes; and review of parking pricing strategies.

### Street vacations and skybridges

Section II.A.1.j of the City-University Agreement requires that the Master Plan include a description of proposed street or alley vacations. No new skybridges are proposed under the Master Plan. Pages 118-119 of the Master Plan discuss the potential future vacation of NE Northlake Place, east of 8th Avenue NE, for disclosure purposes only.

### Other elements of the Plan

The Master Plan also contains: goals and policies to guide campus development; formal development standards; and a draft shoreline public access plan.

## CUCAC and SDCI’s Recommendations and the University’s Responses

CUCAC provided SDCI and the University 31 formal recommendations on the Master Plan on August 30, 2017. Ex. D-3.

SDCI issued its Analysis and Recommendation (Report) on November 16, 2017. Ex. D-1. It analyzed the Master Plan and the University’s rezone request against relevant criteria, responded to CUCAC’s recommendations, and recommended 61 amendments and conditions under SEPA and other authority.

The University responded to CUCAC’s recommendations on September 14, 2017. Ex. 20.  The University’s Pre-Hearing Brief repeated those responses and responded to SDCI’s recommendations.  The University agreed with or consented to many of SDCI’s recommendations and objected to the others, as summarized in Attachment 1 to the University’s Pre-Hearing Brief.

## Examiner’s Public Hearing

The Examiner’s public hearing commenced on December 8, 2017 and formally closed on December 15, 2017.

The University and SDCI submitted exhibits and presented testimony through witnesses. Two CUCAC members presented testimony on CUCAC’s work and recommendations.

The hearing presented opportunities for public testimony and comment. The Examiner allocated an extended block of time for testimony from representatives of the U-District Alliance for Equity and Livability, a coalition of organizations with an interest in the University and the University District. Individual members of the public also testified. SDCI entered the written public comments it received before the start of the hearing. Ex. D-4. The Examiner also compiled written comments the Examiner received during the hearing, including from those who testified. Ex. P-1.

## SDCI-University Agreement on Typographical Corrections and Most Outstanding Recommendations

SDCI and the University continued to discuss their differences during and after the hearing. They agreed on alternative language for most of the SDCI conditions to which the University originally objected. SDCI’s and the University’s posthearing briefs update Attachment 1 to the University’s Pre-Hearing Brief to summarize the result of their discussions. SDCI and the University also agreed on a slate of typographical corrections, attached to the University’s Post-Hearing Brief as Appendix B.

# Conclusions

## Introduction

The Hearing Examiner has jurisdiction over this matter under SMC Chapters 23.69 and 23.76, and consistent with the City-University Agreement.

The Examiner recommends CONDITIONAL APPROVAL of the Master Plan and CONDITIONAL APPROVAL of the proposed modifications to MIO height districts in West, South, and East Campus.

As summarized in attachments to their posthearing briefs, SDCI and the University have agreed on most of the Master Plan and rezone conditions, either in the form originally proposed by SDCI or through alternative language. Those agreed conditions are appropriate. The Examiner recommends the Council adopts them.

The following subsections: explain the Examiner’s recommendations regarding the disputed conditions; discuss why the Plan and proposed rezone, as conditioned, are consistent with relevant criteria; and summarize the Examiner’s recommendations.

Except as otherwise indicated or to the extent inconsistent with these conclusions, the Examiner adopts the analysis in SDCI’s Report by reference. See Ex. D-1.

## Resolution of Disputed Conditions

### The Master Plan may modify only development standards of the underlying zoning, not all development regulations (primarily Cond. 35; also Conds. 29, 30, 34, and 39)

SMC 23.69.006.B authorizes the Agreement and CMP to modify only development standards of the “underlying zoning”: “Within the Major Institution Overlay (MIO) Boundaries for the University of Washington development standards of the underlying zoning may be modified by an adopted master plan, or by an amendment or replacement of the 1998 agreement between the City of Seattle and University of Washington.” (Emphasis added.)

“Development standards of the underlying zoning” are the limitations on physical development applied within each zone, such as height, floor-to-area ratios, setback, and side yard requirements. They ensure the compatibility of development patterns within each zone. Pages 290-91 of the CMP depict the zoning underlying the University’s MIO. The development standards of that zoning are in the provisions relevant to those zones in SMC Chapters 23.43 through 23.51B, SMC 23.54.016.B, and SMC 23.54.030. The Code does not allow the Agreement or Plan to modify other development regulations.

Although SMC 23.69.006.B allows the Agreement to govern “zoning and environmental review authority,” that is not an invitation to govern other development regulations. It allows the Agreement to govern only how institutional zones will supplant the underlying zoning designations. Zoning is a mapping exercise subject to SMC Chapters 23.30 – 23.34, which establish zone designations, adopt a map depicting underlying zoning, and govern map amendments. “Zoning” does not embrace such other development regulations as: the uses allowed within a zone; development standards for such attributes as height, bulk, and scale; subdivision regulations; critical areas regulations; shoreline master plans; historic preservation ordinances; sign codes; and tree protection ordinances. If “zoning” included all development regulations, there would be no reason for SMC 23.69.006.B to separately authorize the Agreement to govern allowed uses and permit acquisition and conditioning—elements governed by City development regulations. There would also be no reason for the Code to authorize the Agreement to modify development standards of the underlying zoning if the authority to govern “zoning authority” already covered it.

Contrary to the Code, the Plan attempts to control all development regulations, including those not tailored to a zone. The cornerstone of this attempt is on page 238, under the heading “Applicable City Code.” That page declares a default rule: the CMP—not the Code—“contains the development standards for University development within the MIO boundary.” The Plan clarifies that any Code provision the CMP fails to mention cannot apply to the University: “Lack of specificity in the Campus Master Plan development standards shall not result in application of provisions of underlying zoning or other provisions in the City’s code.” The CMP voluntarily “recognizes” select Code provisions that “may apply,” implying that other provisions may not apply.

The Examiner recommends adoption of SDCI’s recommended conditions that better align the Plan with the Code. Most significantly, Condition 35 would redraft page 238, borrowing language from the Code and the Plan itself. As redrafted, the text would: identify the development standards of the underlying zoning; declare the CMP supplants those standards; and explain the University remains subject to all other City development regulations that do not preclude the siting of an essential public facility within the meaning of the GMA:

Subject to a Major Institution Overlay (MIO), as shown on page 26, a variety of zoning designations make up the underlying zoning of the Campus. As of the date of this Master Plan, the development standards of the underlying zoning are found in the provisions of SMC Chapters 23.43 through 23.51B, SMC 23.54.016.B, and 23.54.030 relevant to those zones.

This Chapter contains the development standards that supplant the development standards of the underlying zoning within the MIO boundary as allowed by SMC 23.69.006.B and the City-University Agreement. The development standards in this Chapter are tailored to the University and its local setting, and are intended to allow development flexibility and improve compatibility with surrounding uses.

Development standards of the underlying zoning not addressed in the Master Plan may be developed in the future by the University, provided they are consistent with and guided by the goals and policies of the City-University Agreement, the goals and policies of this Master Plan, and the process for any amendments to the Plan required by the City-University Agreement. Lack of specificity in the Master Plan development standards shall not result in application of provisions of underlying zoning.

University development remains subject to all other City development regulations that do not constitute development standards of the underlying zoning and do not preclude the siting of an essential public facility within the meaning of RCW 36.70A.200.

SDCI’s recommended Conditions 29, 30, and 34 further align the CMP with the Code by inserting “underlying zoning” in discussions of Plan-based development standards and correcting passages suggesting the Plan excuses University compliance with other development regulations. Consistent with the Washington Supreme Court’s recent ruling, those Conditions also note the implication of RCW 36.70A.200(5), which bars local jurisdictions from using development regulations to preclude the siting of state education facilities.

Condition 39 adds a common-sense rule: “Where a conflict exists between the definitions in this Plan and those in SMC Chapter 23.84A or SMC Chapter 23.86, the definitions in this Plan shall apply.” This language implies that terms undefined in the Plan are defined in the Code—a reasonable implication given that the Plan works in conjunction with the Code.

### Plan amendment process (Conds. 17 and 18)

The Examiner recommends adoption of SDCI proposed Conditions 17 and 18. SMC 23.69.006.B states the Agreement shall govern “the master plan process (formulation, approval and amendment).” Subsections II.C.1 – 5 of the Agreement govern changes to the CMP. Pages 232 and 233 of the CMP contain procedures at odds with the ones in the Agreement. SDCI’s recommended conditions 17 and 18 would modify the CMP so the amendment process in the Agreement controls.

Theresa Doherty testified that the City Council, when approving the current Plan, added the provisions the University now proposes at pages 232 and 233—provisions at odds with how the Agreement handles Plan amendments. That may be true, but the record does not reflect why the Council added those provisions. Given the language of SMC 23.69.006.B and the Agreement, the Examiner recommends the CMP defer to the Agreement.

### Affordable housing (Conds. 1 and 2)

The Examiner recommends adoption of SDCI’s proposed Conditions 1 and 2, which would require the University to construct 150 affordable housing units for faculty and staff earning less than 60% of the area mean income. The City’s Comprehensive Plan Policy H 5.19 speaks directly to requiring affordable housing in major institution master plans that lead to employment growth: “Consider requiring provisions for housing, including rent/income-restricted housing, as part of major institution master plans and development agreements when such plans would lead to housing demolition or employment growth.”

The CMP is a major institution master plan that will lead to employment growth. The City may require affordable housing under Policy H 5.19.

Section II.B.8.d of the Agreement also says SDCI shall assess and mitigate the direct, indirect, and cumulative impacts of development authorized by a CMP. By increasing faculty and staff, the CMP would affect housing affordability. The City may require affordable housing consistent with the Agreement.

Conditions 1 and 2 are reasonable. The University has already publicly stated its intent, in cooperation with the Seattle Housing Authority, to provide 150 affordable housing units for faculty and staff earning less than 60% of AMI. See Ex. D-14.

The University’s arguments for overlooking Policy H 5.19 lack merit. First, the University casts the CMP as a “specific development proposal” beyond the reach of comprehensive plan policies. But the FEIS characterizes approval of the CMP as a nonproject action, not a decision on a specific development proposal.

Second, the University’s expert, Morgan Shook, testified that housing conditions are inappropriate because City policies and regulations have already accounted for University growth. But although City lawmakers may have accounted for University and other growth in planning documents, lawmakers note that current and anticipated City regulations will not fully mitigate the affordable housing impacts of that growth. See Ex. D-25 at 3.92 – 3.98 (Mandatory Housing Affordability FEIS); Ex. D-26 at 3.1-20 (Comprehensive Plan FEIS); and Ex. D-27 at 3.6-32 – 3.6-34 (Comprehensive Plan DEIS).

Third, the University points to the Comprehensive Plan’s reminder that it does not “necessarily establish a legal duty.” That may be true, but the GMA commands: “Any amendment of or revision to development regulations shall be consistent with and implement the comprehensive plan.” The CMP modifies use regulations and development standards that would otherwise apply to the campus. The CMP should be consistent with and implement the Comprehensive Plan.

Finally, the University claims the Agreement allows SDCI and the Examiner to consider only policies codified in the Land Use Element of the Comprehensive Plan, which would bar consideration of Policy H 5.19 because it is codified in the Housing Element. But the Agreement refers to “land use policies,” not “the Land Use element of the Comprehensive Plan.” Whether codified in the Land Use, Housing, Transportation, or some other element of the Comprehensive Plan, a policy may fairly be deemed a “land use policy” where it speaks of mitigating the impact of land use and development. Moreover, the Agreement does not say SDCI’s and the Examiner’s recommendations are to be based exclusively on certain items; it says only that those items must be part of the recommendation. The Agreement does not waive the GMA’s command that revisions to development regulations be consistent with and implement the Comprehensive Plan.

### Transportation mitigation (Conds. 51 – 53 and 55)

The Examiner recommends adoption of SDCI’s proposed transportation-related conditions: 51 – 53 and 55. Section III of the Agreement memorializes the University’s commitment to working with the City and King County Metro to improve transportation within the already-congested University District:

The City, which is responsible for the regulation and control of City streets, has determined that the university area is substantially impacted by automobiles during peak periods….

The University will support the City and adjacent communities in improving traffic flow on street networks surrounding and leading to the University….

The City and the University will continue to act in partnership with King County Metro and Community Transit to provide a high level of transit service to the campus, the university area, and nearby neighborhood business districts.

The conditions are consistent with the City’s SEPA transportation “policy background” in SMC 25.05.675.R.1. “The University District is an area of the City which is subject to particularly severe traffic congestion problems . . . and therefore deserves special attention in the environmental review of project proposals.” SMC 25.05.675.R.1.f. The CMP FEIS documents that traffic generated by the CMP will cause substantial additional delay at intersections and reduce speeds on arterials for transit and general purpose traffic. This reasonably can be considered “excessive” within the meaning of SMC 25.05.675.R.1.a. The CMP anticipates major projects with substantial traffic volumes that will adversely impact surrounding areas. See SMC 25.05.675.R.1.b. Individual projects anticipated by the CMP will create adverse impacts on transportation facilities serving those projects. See SMC 25.05.675.R.1.c. Conditions 51, 52, 53, and 55—which mitigate the CMP-anticipated growth’s impact on transit facilities—would increase the use of alternative transportation modes. See SMC 25.05.675.R.1.d.

The conditions are justified by the relevant SEPA transportation policies in SMC 25.05.675.R.2. One policy is “to minimize or prevent adverse traffic impacts which would undermine the stability, safety and/or character of a neighborhood or surrounding areas.” SMC 25.05.675.R.2.a. The recommended conditions implement this policy:

Condition 51: Increasing capacities on potentially overcrowded transit lines will enhance the ability of the University to meet its TMP goal by providing sufficient space on buses for prospective riders, minimizing destabilizing and unsafe traffic impacts.

Condition 52:  Maintaining and improving transit performance is a necessary part of supporting an increase in transit service and meeting TMP goals.  Helping fund proposed RapidRide lines in the University District will increase transit speed and reliability, increasing the attractiveness of transit as a mode choice, and minimizing destabilizing and unsafe traffic impacts.

Condition 53: Providing on-campus opportunities to accommodate high volumes of transit riders and shared mobility services, better connections between modes, and information related to travel and transfer options will encourage the use of alternative modes, supporting the TMP and minimizing destabilizing and unsafe traffic impacts.

Condition 55: Increasing the size of waiting areas at two congested bus stops will encourage use of transit, supporting the recommended TMP (and minimizing destabilizing and unsafe traffic impacts) by decreasing discomfort from waiting in congested conditions.  Separate from a potential disincentive to use transit, high densities at transit stops may also degrade the character of a neighborhood by causing congestion and blockages for pedestrians on sidewalks.

Another policy commands the decisionmaker to examine certain factors when determining traffic and transportation mitigation:

[E]xamine the expected peak traffic and circulation pattern of the proposed project weighed against such factors as the availability of public transit; existing vehicular and pedestrian traffic conditions; accident history; the trend in local area development; parking characteristics of the immediate area; the use of the street as determined by the Seattle Department of Transportation’s Seattle Comprehensive Transportation Plan; and the availability of goods, services and recreation within reasonable walking distance.

SMC 25.05.675.R.2.b. The CMP FEIS documents the availability of public transit, existing vehicular and pedestrian traffic conditions, and other specific policy elements. The results of, and impacts identified in, the FEIS transportation analysis shaped SDCI’s recommended conditions. See also SMC 25.05.060.A.2 (“Mitigation measures shall be related to specific, adverse environmental impacts clearly identified in an environmental document on the proposal . . . .”).

SDCI’s recommended conditions are attributable to the impacts identified in the FEIS, generally based on a pro rata share of vehicle or transit trips generated by the growth anticipated in the CMP. See SMC 25.05.060.A.4.

SDCI’s recommended conditions are reasonable and capable of being accomplished. See SMC 25.05.060.A.3. Although the conditions are expressed in terms of percentages of future costs, those costs will be known at the time a payment is required and the University may negotiate and challenge costs it deems inconsistent with the conditions. See also Agreement § VIII.B (dispute resolution provisions).

### Public realm allowance (Cond. 12)

Examiner recommends adoption of Condition 12, which would direct the reader to City law on street widths and improvements within the public realm allowance. As expressed in Appendix A to its Pre-Hearing Brief, the University’s principal concern is that the City may widen its rights-of-way. That concern is understandable, but a plan for a campus cannot dictate future City decisions regarding its rights-of-way. If the City must expand a right-of-way that reduces the University’s development capacity, the University and SDCI may explore proposed CMP amendments to tailor public realm allowance requirements to address the University’s needs. But the City cannot, through the CMP process, abdicate its authority to manage and, where necessary, expand City rights-of-way in the public interest.

The University also objects to the portion of Condition 12 that would state: “Where required, improvements to the public realm allowance shall be completed in accordance with adopted Green Street Concept Plan.” Suggesting that sentence is unnecessary, the University points to the CMP’s stated intent that the University “shall strive to follow the guidance provided” in the University District Green Streets Concept Plan. Ex. D-2 at 182. Even though the University’s intent is laudable (especially given that compliance with that Plan is voluntary), the sentence still serves to remind the reader that, if a future Green Street Concept Plan—perhaps one that supplants the current University District Plan—contains mandatory provisions, the University will have to comply with those provisions.

## The Plan, as Conditioned, is Consistent with the Agreement, Comprehensive Plan, SEPA, and Shoreline Public Access Plan Provisions.

Section II.B.9 of the City-University Agreement states the Examiner is to base her review at least on: the Agreement; “neighborhood plans and policies adopted by ordinance”; SEPA; and “other applicable land use policies and regulations of the City.”

The Plan, as conditioned, contains the elements required by Section II.A of the Agreement. See Report (Ex. D-1) at 18 – 21.

The Plan, as conditioned, is consistent with the Plan amendment provisions in Section II.C of the Agreement. See Report (Ex. D-1) at 33 – 34.

The Plan, as conditioned, is consistent with relevant Comprehensive Plan policies, including the adopted portions of the University Community Urban Center plan. See Report (Ex. D-1) at 21 – 38.

The Plan, as conditioned, appropriately mitigates short- and long-term environmental impacts identified in the FEIS. See Report (Ex. D-1) at 68 – 95.

The draft shoreline public access plan, as conditioned, is appropriate for SDCI’s consideration. See Plan (Ex. D-2) at 108 – 111; Report (Ex. D-1) at 64 – 66. The draft plan includes: approximately 3,870 lineal feet of new trails; 12 new through walkways; 4 acres of new programmed open space; two new view corridors; and 74 maintained acres of natural habitat in East Campus Sector. If the City Council approves the Master Plan, the University may submit a final shoreline public access plan to SDCI for consideration through the review and approval process in SMC 23.60A.164.K.

## The Proposed Amendments to the MIO Height Designations are Consistent with Applicable Criteria.

The Examiner recommends CONDITIONAL APPROVAL of the proposed modifications to MIO height districts in West, South, and East Campus as shown on page 123 of the Master Plan. As analyzed by SDCI, and with the conditions SDCI recommends, the proposed modifications are consistent with the general rezone criteria in SMC 23.34.008 and criteria specific to changes in MIO district height limitations in SMC 23.34.124.  See Report (Ex. D-1) at 39 – 59.

## Summary of Recommendations

The Examiner recommends CONDITIONAL APPROVAL of the Master Plan.

The Examiner recommends CONDITIONAL APPROVAL of the proposed modifications to MIO height districts in West, South, and East Campus as shown on page 123 of the Master Plan.

# Hearing Examiner’s Recommended Conditions

The Examiner recommends the following conditions:

Condition #1: Amend page 276 of the Housing section to include the statement, “The University shall construct 150 affordable housing units for faculty and staff earning less than 60% AMI.”

Condition #2: A condition of the Master Plan shall state: Construction of 150 affordable housing units for faculty and staff earning less than 60% AMI shall be constructed within the MIO boundary, Primary Impact Zone, or Secondary Impact Zone prior to the development of 6 million net gross square feet or the life of the Master Plan, whichever occurs first.

Condition #3: Page 98: Amend the first paragraph under “Open Space Commitment”:

…A design and implementation plan for the West Campus Green and the West Campus section of the continuous waterfront trail shall be completed by the earlier of: the time 1.5 million square feet of net new development in the West Campus sector is completed; or the time the University submits its first permit application for development of Site W27, W29, W33, W34, or W35.

Condition #4: Page 102: Amend the second paragraph under “Open Space Commitment”:

A design and implementation plan for the South Campus Greens, as well as the South Campus section of the continuous waterfront trail shall occur when construction on the first adjacent development site is completed (by the time the University submits the first permit application for development of Sites S50, S51, S52, S41, S42, S45, or S46).

Condition #5: Page 104: Amend the second bullet under “Open Space Commitment”:

Construction Completion of the East Campus section of the continuous waterfront trail shall align with the earlier of: completion of construction of the 750,000 gross square feet of net new development allowed in East campus under the CMP; or exhaustion of the 6 million square foot growth allowance.

Condition #6: Page 240: Amend the last three sentences of the first paragraph under “West Campus Green and Plaza”:

. . . . A design and implementation plan for West Campus Green and West Campus section of the continuous waterfront trail shall be completed by the earlier of: the time 1.5 million square feet of net new development in West Campus sector is completed; or the time the University submits its first permit application for development of Site W27, W29, W33, W34, or W35. A concept plan for all three sections of the continuous waterfront trail-West, South, and East -shall also be completed at this by that time. The concept plan for the continuous waterfront trail shall be reviewed by SDCI for compliance with the City’s Shoreline Master Management Program and the University’s Shoreline Public Access Plan. The continuous waterfront trail design and implementation plan for the South and East campus sectors shall include convenient pickup and drop off facilities and signage throughout the length of the trail that reflects local Native American history. At the latest, c Construction of the West Campus Green and the West Campus section of the continuous waterfront trail shall occur when by the earlier of: completion of 3.0 million gross square feet of net new development is completed in the West Campus Sector; at the completion of adjacent development sites W29, W33, and W34; or the exhaustion of the 6 million gross square foot growth allowance. In addition, as the University completes development of Sites W29 it shall complete the “Plaza”, and as the University completes development of W27, It shall complete the “Belvedere”, both identified on page 98.

Condition #7: Amend the second paragraph under “South Campus Green”:

A design and implementation plan for the Greens, as well as the South Campus section of the continuous waterfront trail shall occur when construction on the first adjacent development site is completed (by the time the University submits the first permit application for development of Sites S50, S51, S52, S41, S42, S45, or S46.

Condition #8: Amend the third paragraph under “Continuous Waterfront Trail”:

• Construction Completion of the East Campus section of the continuous waterfront trail shall align with the earlier of: completion of construction of the 750,000 gross square feet of net new development allowed in East campus under the CMP; or exhaustion of the 6 million square foot growth allowance.

Condition #9: UW shall include updates about the progress of the planning and completion of the West Campus Green, the South Campus Green, and the continuous waterfront trail in the annual reports to the City.

Condition #10: Page 239: Add a new section to the beginning of the page:

ACTIVE STREET-LEVEL USE AND TRANSPARENCY

Active street-level uses shall be located within buildings adjacent to City of Seattle right-of-way in the West Campus sector, mid-block corridors in all sectors, West Campus Green Plaza and Belvedere, South Campus Green, and the continuous waterfront trail. Active street-level uses include commercial uses, child-care facilities, multi-use lobbies, lounges, study spaces, and active academic uses like classrooms, labs, libraries and hands-on collaboration spaces. All buildings with required active street-level use and transparency shall provide active uses and transparency within 2-8 feet above sidewalk level along 60% of the building façade. Where active street level uses are required, street-level parking within structures, excluding driveway access and garage doors or openings, shall not be allowed unless separated from street-level street-facing facades by active street level uses complying with the use and transparency requirements in this paragraph.

Condition #11: Page 241: Under “Parking,” amend the paragraph in the middle of the page:

Parking access is preferred from streets owned by the University. Where necessary, parking access from streets that are not owned by the University shall be allowed based on the following hierarchy of preference (from most preferred to least preferred). A determination on the final access location shall be made by SDCI, in consultation with SDOT, based on this hierarchy. The final access location shall balance the need to minimize safety hazards and the feasibility of the access location based on topography, transit operations, bike infrastructure, vehicle movement, and other considerations …

Condition #12: Page 242: Under “Public Realm Allowance,” amend the second paragraph:

The public realm allowance refers to a minimum zone between the street curb and the edge of building facade, and is intended to provide space for a comfortable and desirable pedestrian experience. The public realm allowance proposed are based upon and maintain the current street widths which the University understands to be sufficient. City of Seattle right-of-way widths are determined by SMC 23.53 and the Street Improvement Manual, or functional successor. Where required, improvements to the public realm allowance shall be completed in accordance with adopted Green Street Concept Plan. The existing curb-to-curb width, plus the linear square feet associated with the public realm allowance defines the extent of impact on development sites

Condition #13: Page 251: Under “Upper Level Setbacks,” amend the first paragraph under “First Upper Level Setback”:

Sites with building footprints that exceed 30,000 square feet shall maintain a minimum upper-level setback of 20’ along sides of the building where the height exceeds the 45’ podium. Sites with building footprints smaller than 30,000 square feet and whose building height exceeds the 45’ podium height shall maintain a minimum upper level setback of 20’ along at least two edges of the podium. The required upper-level setback shall be provided along the street or major public open space façade if one exists. If necessary to allow flexibility and modulation of the building form, a maximum of 50 percent of the building perimeter may extend up to 90’ without a setback.

Condition #14: Page 251: Under “Second Upper Level Setback,” amend the first paragraph as follows:

To create a more gradual transition between University and non-University property, an additional upper level setback shall be required on building edges identified within the Development Standards and Design Guidance maps, pages 174, 189, 298, and 226. as follows: sSites with building footprints that exceed 20,000 square feet and whose building height exceeds 160’ that are located along University Way and Campus Parkway, shall be required to step back an additional 20’ at 90’ in height along a minimum of one façade, generally the facade facing the more prominent street edge. Sites with building footprints that exceed 20,000 square feet and whose building height exceeds 160’ that are located along Pacific Street, shall be required to step back an additional 20’ at 120’ in height along a minimum of one façade, generally the façade facing the more prominent street edge. The required second upper-level setback shall be provided along the street or major public open space façade if one exists.

Condition #15: Page 239: Under “Ground Level Setbacks,” amend the third paragraph:

Setbacks may be averaged horizontally or vertically. University structures across a City street or alley from commercial, mixed use, manufacturing, or industrial zones outside the MIO boundary shall have no required setbacks. Pedestrian bridges, retaining walls, raised plazas, sculpture and other site elements shall have no setback requirements.

Condition #16: Page 156: Amend the paragraph under “Gateways”:

The UW-Seattle campus is embedded within the larger urban fabric of the city and has multiple points of access. Gateways, including NE 45th Street at 15th Avenue NE, the “landing” of the University Bridge at NE 40th Street, and NE 45th Street at 25th Avenue NE, serve as important access points for pedestrians, bikes, and vehicles, and may provide a welcoming and clear sense of arrival on campus. Gateways also form key points of connectivity between campus sectors. Gateways should include visual enhancements that signify entries into the community, such as landscaping, signage, artwork, or architectural features that will be installed at the discretion of the University. Gateways also form key points of connectivity between campus sectors.

Condition #17: Page 232: Amend the second bulleted paragraph:

A new development site: A proposal for a development site not previously approved under the Master Plan is considered a proposed change to the Master Plan and will comply with the City-University Agreement Section II.C.1 – 5, Changes to University Master Plan. shall constitute an exempt Campus Master Plan change, unless the proposal requires a Plan amendment according to the provisions of the City-University Agreement because the Director of SDCI (or its successor department) determines that the specific use proposed for a site, within the broad use categories permitted in tables 14 through 17, is inconsistent with the guiding principles or polices of this Campus Master Plan, or because of the use relationship to, or cumulative use impacts upon, area surrounding the University boundary.

Condition #18: Page 233, remove the two bulleted paragraphs.

Condition #19: Page 261: Amend the first bulleted item and the first sentence of the third bulleted item:

“Convene a transportation agency stakeholder meeting, at least quarterly, to review progress and discuss unforeseen transportation challenges and opportunities. The group will not have oversight to set TMP priorities.”

“Conduct an annual survey and provide the results of its efforts to the City- University Citizen Advisory Committee (CUCAC), SDOT Director, SDCI Director, Seattle City Council members, transportation agency stakeholders, and transit agency partners.”

Condition #20: Page 261: Under “Monitoring and Reporting,” amend the text following the bulleted items:

The University’s TMP SOV rate goal is 20% as of the date of this Plan. The goal shall decrease to 17% one year after the opening of the Northgate Link Extension. The goal shall decrease further to 15% one year after the opening of the Lynnwood Link Extension.

If the University fails to timely achieve the applicable SOV rate goal, the University shall take steps to enhance the TMP to increase the likelihood that the goal shall be achieved. Additional measures will be set by the University and may include, but are not limited to:

• 	Providing a transit pass that covers all transit trips with a minimum University subsidy of 50% for faculty, staff, and students, pursuant to SDCI Director’s Rule 27-2015 and SMC 23.54.016

•	Replicating the student U-Pass “opt-out” program with faculty and staff to encourage participation among campus populations less likely to use transit

• 	Expanding the U-Pass to integrate payment for other transportation options, such as car-share or bike-share

•	Implementing performance-based parking strategies, including charging more for high-demand parking lots

• 	Replacing monthly parking permits with a pay-by-use parking payment model

In 2028, iIf the University has not failed to timely reached its SOV rate goal of 20%, 17%, or 15% for a period of 24 months, the Director of Seattle Department of Construction and Inspections (SDCI) or its successor agency shall not issue master use permits and building permits shall not be issued for development (other than maintenance, emergency repair, or other minor projects) within the MIO. if the University exceeds the 15% SOV goal over two consecutive years beginning in 2029. The Director of Seattle Department of Construction and Inspections (SDCI)(Or its successor agency) The SDCI Director shall withhold permits until the University has it has been reasonably demonstrated to the satisfaction of the Director that it the University will implement additional mitigation measures shall be implemented that shall meet or restore the University student, faculty, and staff to the required SOV rate to 15%. This measure shall not be applied to maintenance, emergency repair, or other minor projects proposed by the University.

Condition #21: Maintain the existing MIO height limitation (105’) for properties along University Way north of Campus Parkway (Sites W19 and W20). Amend Table 10: Maximum Building Ht. Limit and Figures 125, 150, 153 and 191 to show the MIO height limitation of 105 ft. for Sites W19 and W20.

Condition #22: Limit structure height on development sites W31 and W32 to 30 ft. and amend Table 10 “Conditioned Down Building Heights” accordingly.

Condition #23:

(a) Pages 208 – 209 (Figure 169): Change to a Secondary Access Corridor the Priority Pedestrian Connector that extends southward from the northern end of Portage Bay Vista. Also change to Secondary Access Corridors two of the three northeast-southwest-oriented Priority Pedestrian Connectors (the three that are perpendicular to NE Pacific St.). List the symbols used to identify the Secondary Access Corridors in Figure 169’s key on page 209 under “Development Standards.”

(b) Page 240: Under “South Campus Green,” add the following to the end of the second paragraph:

The design and implementation plan for the Greens and South Campus section of the continuous waterfront trail shall include the final locations and dimensions of mid-block corridors, secondary access corridors and priority pedestrian connectors represented in Figure 169.

(c) Page 244: Add the following new development standard before “Shorelines”:

Secondary Access Corridors

Secondary access corridors are required in the approximate locations identified in Figure 169. Secondary access corridors are to be welcoming pedestrian corridors that provide public access, and views where possible, from NE Pacific Street into the South Campus and South Campus section of the continuous waterfront trail. These corridors shall be a minimum width of 12’ and, where possible, open to the sky.

Condition #24: Page 251: After the last paragraph under “View Corridors,” add:

When proposing to develop sites adjacent to or within the 12 view corridors documented on Table 19 (pages 252 and 253), the University shall provide more detailed analysis of the existing or proposed views and demonstrate how the proposed development will maintain existing or proposed view corridors.

Condition #25: Page 252: Amend the View Corridor 8 description as follows:

The view is of Lake Union generally to the southwest, as taken from the west pedestrian walkway along the University Bridge, at the edge of the existing UW Northlake building.

Condition #26: Page 253: Replace the View Corridor 8 graphic with the new one the University submitted to SDCI that is consistent with other view corridor graphics in terms of formatting.

Condition #27: Page 6: Amend the third paragraph under “Purpose and Context”:

Work on this CMP began in 2015 so that by 2018, the 2018 CMP would be in place to accommodate the Seattle campus’ growth demands. Between 2015 and 2018, the University of Washington developed this long-term vision for the Seattle campus as well as a 10-year conceptual plan for campus growth that balances provides for the preservation of historic campus assets with intensive investment.

Condition #28: Page 8: Amend the paragraph under “Guiding Principles”:

The CMP balances provides for the preservation of historic campus assets with increased density, and relies on the University’s strategic goals, academic, research, and service missions, and capital plan objectives, to inform the physical development of the campus. Five overarching principles guide the 2018 CMP:

Condition #29: Page 24: Amend paragraphs Nos. 1, 3, and 5 under “Regulatory Authority and Planning Process”:

1. Pursuant to RCW 28B.20.130, Tthe University of Washington Board of Regents exercises full control of the University and its property has “full control of the university and its property of various kinds, except as otherwise provided by State law.” Pursuant to RCW 36.70A.103 and .200, “[s]tate agencies shall comply with the local . . . development regulations and amendments thereto adopted pursuant to this chapter,” but “[n]o local . . . development regulation may preclude the siting of essential public facilities,” including “state education facilities.” The Washington Supreme Court has ruled that the University is a state agency and the Regents’ “full control” under RCW 28B.20.130 is limited by RCW 36.70A.103.

3. The City-University Agreement governs preparation of the CMP. Consistent with the City-University Agreement and the City’s Major Institutions Code, Tthe CMP includes design guidance, development standards of the underlying zoning, and other elements unlike those applicable to other major institutions which differ from or are in addition to those included in the City’s Major Institutions Code, consistent with the City-University Agreement. A Major Institution Overlay (MIO) district and boundaries are established through the CMP adoption and cCity ordinance.

5. The University shall comply with the provisions of the Seattle Shoreline Master Program and other applicable State or Federal laws. University development remains subject to City development regulations that do not constitute development standards of the underlying zoning and do not preclude the siting of an essential public facility within the meaning of RCW 36.70A.200.

Condition #30: Page 150: Amend the paragraph under “Introduction”:

Chapter 6 contains detailed information on the 10-year conceptual plan for campus, including sector-by-sector descriptions of the design goals for each area. This Chapter further provides information on the University’s Project Review Processes, and includes non-binding design guidance. Although non-binding, design guidance will be implemented through capital project design and environmental review carried out by the Architectural Commission, the University Landscape Advisory Committee, the Design Review Board (all as applicable), and project design teams. In a few places, Several figures reference development standards are referenced; these standards of the underlying zoning are set out and explained further as mandatory requirements in Chapter 7.

Condition #31: Page 151: Amend the paragraph under “Demolition”:

Demolition is permitted prior to future development as long as sites are left in a safe condition and free of debris. Demolition may be permitted prior to future development where authorized by any required permit. Demolition permits are may be submitted in advance of a building site being selected for development and any grading work is reviewed under the Grading Code (SMC Chapter 22.170). Demolition of any structure, including any structure that is more than 25 years old or historic, is allowed if authorized by the UW Board of Regents.

Condition #32: Page 153: Amend the first four sentences of the first paragraph under “History of Stewardship by the Board of Regents”:

Over the last century, the University of Washington Board of Regents has been the steward of the University of Washington campus. The Regents recognize the value of the campus setting to the University, the greater University area community, the City of Seattle, the State of Washington, and future generations. The University is As a state institution of higher education and a state agency. Pursuant to RCW 28B.20.130, the Regents “have full control and authority over the development of the campus of the university and its property of various kinds, except as otherwise provided by law.” The institution is encumbered with a public purpose that is essential to the future of the State, and this purpose requires that the campus continue to be developed to meet the growing and changing education needs of the State. Pursuant to RCW 36.70A.103 and .200, “[s]tate agencies shall comply with the local . . . development regulations and amendments thereto adopted pursuant to this chapter,” but “[n]o local . . . development regulation may preclude the siting of essential public facilities,” including “state education facilities.” The Washington Supreme Court has ruled that the University is a state agency and the Regents’ “full control” under RCW 28B.20.130 is limited by RCW 36.70A.103.

Condition #33: Page 155: Amend the paragraph preceding “The Historic Resource Addendum (HRA)”:

The review of historic resources on the campus utilizes the process stated above. In 2017, the Washington State Supreme Court concluded:

The plain language of the current statutes provide that the Regents’ authority is subject to limitation by applicable state statutes, including the GMA’s provision that state agencies must comply with local development regulations adopted pursuant to the GMA. UW property that is located in Seattle is thus potentially subject to the [the City’s Landmarks Preservation Ordinance] absent a specific, directly conflicting statute.

University of Washington v. City of Seattle, 188 Wn.2d 823, 845, 399 P.3d 519 (2017). and does not include a review under the City of Seattle’s Landmark Preservation Ordinance. The University’s position is that it is not subject to the ordinance, as the University of Washington Board of Regents has full control and authority over all development on campus. 1

1Arguments related to this topic have been heard by the Washington Supreme Court. A decision is pending.

Condition #34: Page 230: Amend the first paragraph under “Introduction”:

Consistent with SMC 23.69.006.B, Tthis chapter outlines the development standards of the underlying zoning that guide proposed development within the campus boundaries. The City-University Agreement requires that all University of Washington development within the Major Institution Overlay (MIO) boundary follow the standards outlined in this chapter. While Chapter 6 includes design guidance to be used to achieve the design intent for the campus, this chapter includes the required development standards of the underlying zoning for campus development.

Condition #35: Page 238: Delete all text in its entirety and replace it with this:

Subject to a Major Institution Overlay (MIO), as shown on page 26, a variety of zoning designations make up the underlying zoning of the Campus. As of the date of this Master Plan, the development standards of the underlying zoning are found in the provisions of SMC Chapters 23.43 through 23.51B, SMC 23.54.016.B, and 23.54.030 relevant to those zones.

This Chapter contains the development standards that supplant the development standards of the underlying zoning within the MIO boundary as allowed by SMC 23.69.006.B and the City-University Agreement. The development standards in this Chapter are tailored to the University and its local setting, and are intended to allow development flexibility and improve compatibility with surrounding uses.

Development standards of the underlying zoning not addressed in the Master Plan may be developed in the future by the University, provided they are consistent with and guided by the goals and policies of the City-University Agreement, the goals and policies of this Master Plan, and the process for any amendments to the Plan required by the City-University Agreement. Lack of specificity in the Master Plan development standards shall not result in application of provisions of underlying zoning.

University development remains subject to all other City development regulations that do not constitute development standards of the underlying zoning and do not preclude the siting of an essential public facility within the meaning of RCW 36.70A.200.

Condition #36: Page 241: Delete the fifth, one-sentence paragraph under “Parking”:

All new development shall consider opportunities for bike parking facilities.

Condition #37: Page 244: Amend the second paragraph under “Shorelines” (including the addition of a footnote) to recognize that any amendment to the Shoreline Master Program must be made by the City Council and approved by the Washington State Department of Ecology:

The Shoreline Management Act (SMA) regulates development, uses, and modifications of shorelines of the state in order to protect the ecological functions of shoreline areas, encourage water-dependent uses, provide for maximum public access, and preserve, enhance, and increase views of the water. The City of Seattle has adopted implementing regulations for the Shoreline Management Act for development and use of shorelines within the City limits. The City’s shoreline regulations, called its Shoreline Master Program (SMP), are currently found in SMC Chapter 23.60A. There are currently three shoreline environments within the MIO: the Conservancy Preservation environment, the Conservancy Management environment, and the Urban Commercial environment, as shown on pages 110 to 111. The University follows applicable SMP regulations for University development proposed within the shoreline. The applicable regulations are will be those in effect on the date of adoption of this Master Plan if: (1) the City amends the SMP to so provide; and (2) the Washington State Department of Ecology approves that amendment.13 If those conditions are not met, the applicable regulations will be those applied pursuant to City and Washington vested rights law. For existing buildings within the shoreline environment, regular repair, maintenance and restoration is allowed, provided such activity is consistent with the SMP.

13 As of the date the University submitted a final draft of this Master Plan to the City Department of Construction and Inspections, SMC 23.60A.016.D stated: “Nothing in this Chapter 23.60A changes the legal effect of existing approved Major Institution Master Plans adopted pursuant to Chapter 23.69 or Ordinance 121041.”

Condition #38: Page 246: Amend the first sentence of the third paragraph under “Structure Height Limits”:

All development within the Shoreline District, which is all development within 200 feet of the shoreline and associated wetlands, is restricted to a maximum building height of 30 feet specified in SMC Chapter 23.60A.

Condition #39: Page 254: Insert a sentence after “Definitions” and before “Development”:

Where a conflict exists between the definitions in this Plan and those in SMC Chapter 23.84A or SMC Chapter 23.86, the definitions in this Plan shall apply.

Condition #40: Page 255: Amend the paragraph under “MIO” to accurately reflect legislative history:

The Major Institutional Overlay (MIO) boundary defines the extent of the campus that is governed by the City-University Agreement, and the development standards defined within this CMP. The MIO boundary was established by oOrdinance 112317 and subsequently amended.

Condition #41: Page 104: clarify how waterfront trail relates to Shoreline Public Access Plan by revising the text in the last bullet point on the page to say:

“The University has proposed a Shoreline Public Access Plan as part of the CMP that incorporates and supports the continuous waterfront trail. The trail’s design will incorporate the Access Plan improvements that relate to the trail shown on pages 108-111. Refer to those pages for more information about the Shoreline Public Access Plan.”

Condition #42: Page 108: Delete the following paragraph, because commercial uses are not public access uses.

Commercial water-dependent uses, including moorage for private boats and boat rentals, may be included in the Urban Commercial shoreline in West Campus where their requirements do not conflict with the water-dependent uses of the College of Ocean and Fishery Sciences or limit public access to the waterfront. Potential uses could include a passenger ferry dock. Uses which would require additional single purpose public parking shall be discouraged.

Condition #43: Delete the following statement on page 108, at the end of the South Campus discussion:

The public dock in South Campus would be removed.

Condition #44: Page 108: Clarify the approval process for the Shoreline Public Access Plan in the introduction:

“This section provides the University’s Shoreline Access Plan. It is a combination of both existing and new elements. Please refer to pages 48 and 49 for information on existing shoreline access conditions. It shall be binding upon University development within the shoreline district when the City approves the Access Plan pursuant to SMC 23.60A.164.K. It is a combination of both existing and new elements. Any modifications to the Shoreline Access Plan will be evaluated against provisions of the City-University Agreement related to amendments to the CMP.”

Condition #45: Page 240: Add text to the end of the final paragraph under the heading “Continuous Waterfront Trail”:

The University has proposed a Public Access Plan as part of the CMP that supports the continuous waterfront trail. Refer to pages 108 to 111 for more information about the Public Access Plan. The continuous waterfront trail design and implementation plans will show the existing and proposed shoreline public access plan improvements documented on pages 108-111 that are part of the trail.

Condition #46: Page 109: Add the following after the recommended text regarding the continuous waterfront trail:

Boat Launch Access Points

The design and implementation plan will evaluate and consider the need for new hand-carry boat launch access points and will provide additional signage for all existing and proposed boat launch access points.

Condition #47: Prior to issuance of any demolition, excavation, shoring, or construction permit in West, South, or East Campus, provide a Construction Management Plan that has been approved by SDOT. The submittal information and review process for Construction Management Plans are described on the SDOT website at:  http://www.seattle.gov/transportation/cmp.htm

Condition #48: Pages 234-237: Amend Tables 14 – 17 to list the year of construction for all existing buildings on identified development sites.

Condition #49: If SDOT determines that new traffic signals are warranted at the following intersections while the Master Plan is in effect, the University will pay the indicated proportional share of the cost of the new signals: University Way NE/NE 41st Street, 24.5%; and 6th Avenue NE/NE Northlake Way, 15.1%. The University will have one year following delivery of an itemized accounting from SDOT of the new signal cost for an intersection to pay its indicated share for that intersection. The amount of new signal cost for which the University will be required to contribute a proportional share will not exceed $500,000 per intersection (adjusted upward by 3.5% annually from the date of final CMP approval to the date the University receives the accounting for the relevant intersection).

Condition #50: The University will contribute 9% of the costs of ITS improvements at the time of ITS implementation within the primary impact zone, and 3.3% of the costs of ITS improvements at the time of ITS implementation within the secondary impact zone. The University’s contribution will be capped at $1.6 million for ITS improvements in the primary impact zone, and $293,000 for ITS improvements in the secondary impact zone. Both caps will adjusted upward by 3.5% annually from the date of final CMP approval until the delivery to the University of an itemized accounting of improvement costs from SDOT. The University will have one year following delivery of an itemized accounting of improvement costs from SDOT to pay its contribution.

Condition #51: UW shall pay King County-Metro operating costs for three additional bus transit coaches in both the AM and PM peak hours to provide additional capacity on routes serving Campus Pkwy near Brooklyn Ave NE.

Condition #52: UW shall fund SDOT capital improvements to facilitate transit performance within the primary and secondary impact zones as follows, at the time of implementation of the respective RapidRide project:

•	11th Avenue NE/Roosevelt Avenue NE: 11% of the cost of the RapidRide project within the primary impact zone; 5.5% within the secondary impact zone.

• 	NE 45th Street/15th Avenue NE/Pacific Avenue NE: 30% of the cost of the RapidRide project and other planned transit improvements, including bus only and BAT lanes, within the primary impact zone; 15% within the secondary impact zone.

• 	Montlake Blvd NE: 25% of the cost of the RapidRide project and other planned transit improvements, including bus only lanes, within the primary impact zone; 12.5% within the secondary impact zone.

Condition #53: UW shall dedicate space at new developments adjacent to existing and future Link light rail stations and RapidRide stops to better accommodate higher volumes of transit riders, provide better connections between modes, accommodate shared mobility services, and provide transportation information related to travel and transfer options.

Condition #54: UW shall upgrade the campus gateway at 15th Ave NE/NE 43rd Street as adjacent sites redevelop to comply with the Americans with Disabilities Act, and, without undertaking an obligation to act, consult with SDOT to identify opportunities to implement the U District Urban Design Framework streetscape concept plan connection between this campus entrance and the new U District light rail station.

Condition #55: UW shall expand or pay SDOT for transit stop expansion at these locations as part of the NE 45th St/15th Ave NE/NE Pacific St RapidRide implementation.

Condition #56: UW shall complete separate pathways for bicyclists and pedestrians on the Burke-Gilman Trail between Brooklyn Avenue NE and 15th Avenue NE, and install lighting following the University’s Facilities Design Guidelines and Campus Illumination Study, or successor documents. This should be accomplished by the earlier of the first day of 2028 or when site W27 develops.

Condition #57: UW shall widen the trail and separate users along the trail east of Rainier Vista as opportunities permit.

Condition #58: Both the previous trip caps and parking cap shall be maintained.

Condition #59: Make the typographical corrections attached to the University’s Post-Hearing Brief as Appendix B.

The University later filed a petition to the Growth Management Hearings Board alleging that the LPO was not “adopted pursuant to the GMA,” but did not appeal the Board’s eventual dismissal of that action. See University of Washington v. City of Seattle, CPSGMHB Case No. 17-3-0008, Order on City of Seattle’s Motion to Dismiss (Oct. 31, 2017).

See, e.g., SMC Chapters 23.42 – 23.50 (including use regulations) and 23.76 (permit procedures).

Report (Ex. D-1) at 62 – 63.

The University did not argue to the Examiner that the Plan, as conditioned, would violate RCW 36.70A.200(5), and the Examiner does not address that issue. Any such claim under that state law would have to be made in a future challenge, likely to a project action.

Policy H 5.19. Comprehensive Plan at 105.

Comprehensive Plan at 17.

RCW 36.70A.130(1)(d).

See, e.g., Agreement § II.B.8.d: “[SDCI’s] review and recommendation shall be based on the provisions of this Agreement, neighborhood plans and policies adopted by ordinance, SEPA, other applicable land use policies and regulations of the City.” Accord id. § II.B.9.

Agreement §§ III.B.1, III.C.5, and III.C.6.